## Sheet1
Test System Information
1. Transmission and Distribution Grids
# Transmission and distribution networks are obtained from LUMA Energy, the local power utility (https://lumapr.com/?lang=en)
# Distribution networks consist of 956 distribution feeders across the Puerto Rico island.
# Demand profile of all distriubtion feeders are also obtained from LUMA Energy
#Example of high-reoslution GIS infomration of distribution feeders
# A substation (Luquillo 8kV) with its three distribution feeders
2. Generation
Type | Name | Latitude | Longitude | Cost
Steam Turbine (ST) | Costa Sur Unit 5 | 18.0019 | -66.7541 | 12.39
Steam Turbine (ST) | Costa Sur Unit 6 | 18.0019 | -66.7541 | 17.66
Combined Cycle | EcoElectrica | 18.0019 | -66.7541 | 6.05
Hydro | Yauco Hydro | 18.0019 | -66.7541 | 0
Solar | Coto Laurel | 18.001 | -66.612 | 0
Hydro | Grazas | 18.0128 | -66.6391 | 0
Wind | Pattern | 18.022 | -66.3696 | 0
Steam Turbine (ST) | Aguirre ST Unit 2 | 17.9503 | -66.2325 | 15.98
Combined Cycle | Aguirre CC Unit 1 | 17.9503 | -66.2325 | 15.98
Combined Cycle | Aguirre CC Unit 2 | 17.9503 | -66.2325 | 15.98
Solar | Horizon | 17.9503 | -66.2325 | 0
Coal/Thermal | AES Coal Plant Unit 1 | 17.9454 | -66.152 | 4.4
Solar | AES llumina | 17.9454 | -66.152 | 0.3
Gas Turbine (GT） | Jobos | 17.9612 | -66.1399 | 0.3
Gas Turbine (GT） | Yabucoa | 18.106 | -65.824 | 0.3
Hydro | Toro Negro | 18.1315 | -66.4882 | 0
Gas Turbine (GT） | Mayaguez | 18.2193 | -67.1599 | 0.3
Solar | Oriana | 18.4665 | -67.0357 | 0
Gas Turbine (GT） | Cambalache Unt 2 | 18.4691 | -66.697 | 0.3
Hydro | Dos Bocas | 18.3358 | -66.6661 | 0
Gas Turbine (GT） | Duguao | 18.2323 | -65.6673 | 0.3
Landfill Gas | Fajardo | 18.3297 | -65.646 | 0.3
Solar | San Fermin | 18.3747 | -65.9096 | 0
Steam Turbine (ST) | San Juan Unit 7 | 18.4268 | -66.1045 | 16.59
Steam Turbine (ST) | San Juan Unit 9 | 18.4268 | -66.1045 | 16.47
Combined Cycle | San Juan CT 5 | 18.4268 | -66.1045 | 27.86
Steam Turbine (ST) | Palo Seco Unit 3 | 18.4558 | -66.1489 | 17.79
Steam Turbine (ST) | Palo Seco Unit 4 | 18.4558 | -66.1489 | 16.89
Landfill Gas | Toa Baja | 18.4169 | -66.195 | 0.3
# More detailed information on generators requires access to Form EIA-860 from the U.S. Energy Information Administration.
# Generation cost is obtained from Puerto Rico Electric Power Authority (PREPA) at https://aeepr.com/